BACKGROUND

- Intro paragraph, goal

- Molecules: DEXTRAN, FITC, RhoB

  - Toxicity

  - Concentrations (initial (bonding sites, solubility) and final (toxicity))

  - Fluorescence

  - Structure/Size

- Separating beside on size: Membranes

  - Simple System

    - Retentate

    - Permeate

    - Feed

  - Pores, pressure

  - Key parameters

    - TMP

    - Rejection Coefficient

    - Flow rate

    - Flux

    - Membrane area!

    - Fouling and shear stress

- Different technologies, why diafiltration

- Why constant volume

Retentate, permeate, transmembrane flux, flow rate, dilution/diafiltration volume, pressure drop, rejection coefficient, permeability, fouling (different types), shear stress,

- Measuring concentration

  - Fluorescence, Peaks

  - Beers law

  - Problem: interference -> walkaround (use dextran)

EXPERIMENTAL METHODS

- Strategy/Overview

- The diafiltration machine

  - Full diagram

  - Operation mode

  - Membrane model

- The nanodrop

- Calibration curve for the nanodrop

- Find which TMP for diff flowrates

- Find optimum TMP

- Find rejection coeff

- Find optimum DVs (equation)

- Safety

RESULTS

- Calibration curve

- TMP v Flux plot

- Rejection coeff plot

- Equation for DV

- Resulting concentrations

DISCUSSION

CHECK THIS OUT

http://www.interchim.fr/ft/1/18938B.pdf?fbclid=IwAR2ZSoSdCDlY0iLibdz_RV9EE-6X_oRjcvChd5jAzO9Q3L9MgD7GGGcyrIE

Something

Sources

https://pubchem.ncbi.nlm.nih.gov/compound/dextran#section=Top

https://pubchem.ncbi.nlm.nih.gov/compound/18730#section=Top

https://en.wikipedia.org/wiki/Fluorescein_isothiocyanate

https://www.sigmaaldrich.com/technical-documents/articles/chemistry/fluorescently-labeled-dextrane.html

http://tdbcons.com/images/pdf/fitcdextran2.pdf

https://www.sigmaaldrich.com/catalog/product/sigma/r6626?lang=en&region=US

https://pubchem.ncbi.nlm.nih.gov/compound/rhodamine_b#section=Top

https://pim-resources.coleparmer.com/sds/95510.pdf

- “PhotochemCAD 3: Diverse Modules for Photophysical Calculations with Access to Multiple Spectral Databases,”Taniguchi, M.; Du, H.; Lindsey, J. S. Photochem. Photobiol. 2018, 94, 277–289.

- “Database of Absorption and Fluorescence Spectra of >300 Common Compounds for Use in PhotochemCAD,” Taniguchi, M.; Lindsey, J. S. Photochem. Photobiol. 2018, 94, 290–327.

Fluorescence

https://chem.libretexts.org/Textbook_Maps/Physical_and_Theoretical_Chemistry_Textbook_Maps/Supplemental_Modules_(Physical_and_Theoretical_Chemistry)/Spectroscopy/Electronic_Spectroscopy/Radiative_Decay/Fluorescence

https://en.wikipedia.org/wiki/Jablonski_diagram

http://www.iss.com/resources/reference/data_tables/LifetimeDataFluorophores.html

https://pharmaxchange.info/2012/05/ultraviolet-visible-uv-vis-spectroscopy-%e2%80%93-limitations-and-deviations-of-beer-lambert-law/

Separating

DOI: 10.13140/RG.2.2.35571.53287

https://www.waterworld.com/articles/iww/print/volume-13/issue-4/features/filtration-efficiency.html

ISBN 978-0-08-096659-5

Millipore: https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=3&ved=2ahUKEwi49rbDu6neAhU_JTQIHdIbBjQQFjACegQICBAC&url=https%3A%2F%2Fwww.emdmillipore.com%2FWeb-US-Site%2Fen_CA%2F-%2FUSD%2FShowDocument-Pronet%3Fid%3D201306.5278&usg=AOvVaw0-yjhpusfTGA1OZ56Q83tD

Diafiltration

https://laboratory.pall.com/content/dam/pall/laboratory/literature-library/non-gated/02.0629_Buffer_Exchange_STR.pdf

https://en.wikipedia.org/wiki/Diafiltration